## Scope
| DESCRIPTION | QTY | Unit | Unit/Rate | T/Price
A | GENERAL SCOPE OF WORK
1. PRELIMINARIES
1 | Civil defense approval including third party fees |  | LS
2 | ADM Approval |  | LS
3 | Prepare all the shop as per the site |  | LS
4 | Abu Dhabi Municipality maintenance permit |  | LS
TOTAL AMOUNT

## 2nd Floor Modifications
1) SECOND FLOOR: | [5 empty] | BOQ for Meeting Rooms
SNO. | DESCRIPTION OF WORKS | QTY. |  | Unit Price | TOTAL AMOUNT (AED)
1.) | Containments for BMS:-(Above the Ceiling) |  |  |  |  | SB-680 | 1 | SMART Board
a) | Containments for Relocation of existing VAV controls | 3 nos. |  |  |  | UF - 70 | 1 | SMART Projector
b) | Containments for Relocation & added presence detectors | 9 nos. |  |  |  | SBA-V | 2 with board | SMART Active Speaker
c) | Containment for wall mounted CO2 sensor in open office | 7 nos. |  |  |  | Connectivity in the POP UP BOX | 1 | 1x HDMI, 2x power , 2x data , USB - USB is maximun in 3 meters length,if its more then required usb extenders
d) | Containment for dali loop for light fittings | 16 nos. |  |  |  | Arrive ID-800 | 1 | Arrive Info Point (Out side meeting room) - required one data point
2.) | Containment for Audio Visual System:-(Under Raised Floor) |  |  |  |  | Floor Box | 1 | 2x Power / 2x Data
a) | Removal of existing containments from existing meeting room | Item |  |  |  | POP UP BOX | 1 | 1x HDMI , 2x Power / 2x Data
b) | Containments for floor mounted room booking system at new meeting rooms (1 Single Power & 1 Data Point) | 2 nos. |  |  |  | HDMI Splitter | 1 | for Cisco SX 20
c) | New containment for AV system at new meeting rooms (2 Nos) as mentioned in drawings. | Item |  |  |  | CTS-SX-20-PHD12X-K9 | 1 | Cisco SX-20 Quick Set HD NPP 12xPHDCam 1 mic remote cntrl
4.) | Installation of Light Fittings | 38 nos. |  |  |  | SOLAR - Meeting room (2nd Floor)
5.) | Supply & installation of Cove light LED strip for meeting room (Osram) | LS |  |  |  | ITEM | Quantity | DESCRIPTION
6) | Supply and installation of LED light with BMS ballast | 16Nos |  |  |  | SB-680 | 1 | SMART Board
7.) | Dismantling of Light Fittings | 33 nos. |  |  |  | UF - 70 | 1 | SMART Projector
8.) | Supply & installation of New Floor Box (Brand: MK) | 8nos. |  |  |  | SBA-V | 2 with board | SMART Active Speaker
9.) | Re-location of Floor Grommets as mentioned in low level power layout | 8 nos. |  |  |  | Connectivity in the POP UP BOX | 1 | 1x HDMI, 2x power , 2x data , USB - USB is maximun in 3 meters length,if its more then required usb extenders
10.) | New Power double Sockets for new meeting rooms, store (Mk Stainless Steel) | 4 nos. |  |  |  | Arrive ID-800 | 1 | Arrive Info Point (Out side meeting room) - required one data point
11.) | Existing G.I Containment & Pop up box removal & re-fixing at meeting room | Item |  |  |  | Floor Box | 1 | 2x Power / 2x Data
12.) | Tele- Communication System:- |  |  |  |  | POP UP BOX | 1 | 1x HDMI , 2x Power / 2x Data
a) | Necessary containment for Tele-communication system | Item |  |  |  | Important Notes: 1. Provide all cables and connectors along with installation, documentation and testing services for the new meeting room; 2. No old cable nor the connectors to be used. 3. All Audio/Video Cable should be Branded Cables such as “Belden, Draka, Percon or Crestron”. 4. The HDMI connectors should follow up the specification on the above table 5. All AV Cable should be tested with compliance of AV and HDMI standards. A soft copy of test results should be provided upon completion of the project 6. The modular plugs should provide long-term resistance to corrosion from humidity, extreme temperatures, and airborne contaminants; 7. As Built Drawings: A hard and soft copy of floorplans with updated drawings for the all meeting rooms including the details of the AV equipment and numbers labeled electronically should be provided upon completion of the project 8. The office cabinets/desks should not be located under or before the smart board screens.
TOTAL AMOUNT
1.2 DECOR WORKS FOR MEETING ROOMS LEVEL 2
SNO | DESCRIPTION | QTY | Unit Price | Unit Price | TOTAL AMOUNT (AED)
1 | Demolition of existing ceiling from workstation areas. | LS
2 | Supply & installation of baffle wall with GI framing with wood spot 2 side gyproc gypsum board. | 60L/m
3 | Removing the existing wooden panels, cutting the existing gypsum ceiling old meeting room for removing the VAV and refix CAV & supply and installation new gypsum ceiling | LS
4 | Supply &Installation of gypsum Bulkhead for new meeting rooms. | 32sqm
5 | Supply & installation of gyproc MR gypsum 125mm thick single layer gypsum board false ceiling with GI suspension make ready for 1st coat paint | 144sqm
6 | Supply & installation of rock wool for above the ceiling (h=7cm) | 144sqm
7 | Supply & apply of paint white matt same existing color | 223sqm
8 | Supply & access panel gyproc | 13nos.
9 | Remove the carpet and re-fixing same carpet with new stickers | L/S
10 | Cutting for down lights for meeting rooms & corridor | LS
11 | Cutting for AC grills | LS
12 | Remove the raised floor and cutting the floor box and re-fixing the raised floor tile. | L/S
13 | Cleaning & protection during the work | L/S
TOTAL AMOUNT
1.3 A/C WORKS LEVEL 2
SNO. | DESCRIPTION OF WORKS | QTY. |  | Unit Price | TOTAL AMOUNT (AED)
1 | Removal of existing VAV's. | 3 nos.
2 | Relocation of removed VAV's. | 3 nos.
3 | Supply and installation of CAV's. | 4nos.
4 | Supply & installation of S - bend with liner. | 5nos.
5 | Relocation of Linear Slot Diffusers with associated duct modifications, plenum boxes & flexible duct connections. | 4nos.
6 | Fresh Air Duct Works inside the rooms with VCD's | L.S
7 | Removing & reaffixing the AC grills | L.S
8 | Air Balancing | L.S
TOTAL AMOUNT
1.4 IT WORKS LEVEL 2
Sno. | Description | Qty | Unit Price AED | Unit price | Total Price AED
A | SECOND FLOOR IT NETWORKING
1 | Existing meeting room converting 4 x2 workstation labor charge | 16
2 | 10GPlus 10m 27AWG S/FTP Stranded 4Pair RJ45 Blade Patch Cord Grey LS/OH 332.1 Sheathed Cable with Grey Boots | 8
3 | cat6 6a - 1mtr patch cord - brandrex | 2
4 | AC6JAKS000DC 10GPlus Snap in Jack Screened – Tool Free for printer points | 16
5 | Single metal face plate - brand MK | 2
6 | • AC6U/FTP-HF1-500VT 10GPlus 23AWG U/FTP 4 Pair LSF/OH IEC 332.1 Sheathed Violet RAL 4005 Cable | 1
for new meeting room - quantity 2nos and 3 workstation as per drawing
8 | for new meeting room - data points 8 data points x 2 meeting rooms labor charge + 3 workstation + 2 printer points + store | 26
9 | 10GPlus 10m 27AWG S/FTP Stranded 4Pair RJ45 Blade Patch Cord Grey LS/OH 332.1 Sheathed Cable with Grey Boots | 24
10 | AC6JAKS000DC 10GPlus Snap in Jack Screened – Tool Free for printer points | 10
11 | dual metal face plate - brand MK | 2
12 | professional service for Testing and commissioning | 1
MOVING EQUIPMENT TO THE NEW MEETING ROOM
1 | WIND MEETING ROOM
| Relocation SMART BOARD SCREEN AND PROJECTOR INCLUDING USB, HDMI CABLING INSTALLATION AND CONFIGURATION. | 1
| SX20 CISCO VIDEO CONFERENCE FACILITY - HDMI SPLITTER, POLYCOM AUDIO CONFERNCE PHONE, AND ACCESSORIES. | 1
2 | MIDDLE MEETING ROOM
| Relocation SMART BOARD SCREEN AND PROJECTOR INSTALLATION INCLUDING USB, HDMI CABLING INSTALLATION AND CONFIGURATION. | 1
3 NEW | WIND MEETING ROOM
| SMART BOARD SCREEN AND PROJECTOR INSTALLATION INCLUDING USB, HDMI CABLING INSTALLATION AND CONFIGURATION. Without Materials | 1
| SX20 CISCO VIDEO CONFERENCE FACILITY - HDMI SPLITTER , POLYCOM AUDIO CONFERNCE PHONE , AND ACCESSORIES | 1
TOTAL AMOUNT

## 3rd Floor Modifications
ANNEX. VI | BOQ
2) THIRD FLOOR | [5 empty] | HYDROPOWER - Meeting room (3rd Floor)
ITEM
SNO. | DESCRIPTION OF WORKS | Qty |  | Unit price | TOTAL AMOUNT (AED) |  | SB-680 | 1 | SMART Board
1.) | Containments for BMS:-(Above the Ceiling) | [5 empty] | UF - 70 | 1 | SMART Projector
a) | Containments for Relocation of existing VAV controls | 3 nos. |  |  |  |  | SBA-V | 2 with board | SMART Active Speaker
b) | Containments for Relocation & added presence detectors | 9 nos. |  |  |  |  | Connectivity in the POP UP BOX | 1 | 1x HDMI, 2x power , 2x data , USB - USB is maximun in 3 meters length,if its more then required usb extenders
c) | Containment for wall mounted CO2 sensor in open office | 7 nos. |  |  |  |  | Arrive ID-800 | 1 | Arrive Info Point (Out side meeting room) - required one data point
d) | Containment for dali loop for light fittings | 16 nos. |  |  |  |  | Floor Box | 1 | 2x Power / 2x Data
e) | [6 empty] | POP UP BOX | 1 | 1x HDMI , 2x Power / 2x Data
2.) | Containment for Audio Visual System:-(Under Raised Floor) | [5 empty] | BARJEEL - Meeting room (3rd Floor)
a) | Removal of existing containments from existing meeting room | Item |  |  |  |  | ITEM | Quantity | DESCRIPTION
b) | Containments for floor mounted room booking system at new meeting rooms (1 Single Power & 1 Data Point) | 2 nos. |  |  |  |  | SB-680 | 1 | SMART Board
c) | New containment for AV system at new meeting rooms (2 Nos) as mentioned in drawings. | Item |  |  |  |  | UF - 70 | 1 | SMART Projector
3.) | Installation of Light Fittings | 38 nos. |  |  |  |  | SBA-V | 2 with board | SMART Active Speaker
5.) | Supply & installation of Cove light LED strip for meeting room. | LS |  |  |  |  | Connectivity in the POP UP BOX | 1 | 1x HDMI, 2x power , 2x data , USB - USB is maximun in 3 meters length,if its more then required usb extenders
6.) | Supply and installation of LED light with BMS ballast | 16 nos. |  |  |  |  | Arrive ID-800 | 1 | Arrive Info Point (Out side meeting room) - required one data point
7.) | Dismantling of Light Fittings | 33 nos. |  |  |  |  | Floor Box | 1 | 2x Power / 2x Data
8.) | Supply & installation of New Floor Box (Brand: MK) | 8nos. |  |  |  |  | POP UP BOX | 1 | 1x HDMI , 2x Power / 2x Data
9.) | Re-location of Floor Grommets as mentioned in low level power layout | 8 nos. |  |  |  |  | CTS-SX-20-PHD12X-K9 | 1 | Cisco SX-20 Quick Set HD NPP 12xPHDCam 1 mic remote cntrl
10.) | New Power double Sockets for new meeting rooms, store (Mk Stainless Steel) | 4 nos. |  |  |  |  | Important Notes: 1. Provide all cables and connectors along with installation, documentation and testing services for the new meeting room; 2. No old cable nor the connectors to be used. 3. All Audio/Video Cable should be Branded Cables such as “Belden, Draka, Percon or Crestron”. 4. The HDMI connectors should follow up the specification on the above table 5. All AV Cable should be tested with compliance of AV and HDMI standards. A soft copy of test results should be provided upon completion of the project 6. The modular plugs should provide long-term resistance to corrosion from humidity, extreme temperatures, and airborne contaminants; 7. As Built Drawings: A hard and soft copy of floorplans with updated drawings for the all meeting rooms including the details of the AV equipment and numbers labeled electronically should be provided upon completion of the project 8. The office cabinets/desks should not be located under or before the smart board screens.
11.) | Existing G.I Containment & Pop up box removal & re-fixing at meeting room | Item
12.) | Tele- Communication System:-
a) | Necessary containment for Tele-communication system | Item
TOTAL AMOUNT
2.2 DECOR WORKS FOR MEETING ROOMS LEVEL 3
SNO | DESCRIPTION | QTY | UNIT PRICE | TOTAL AMOUNT (AED)
1 | Demolition of existing ceiling from workstation areas. | LS
2 | Supply & installation of baffle wall with GI framing with wood spot 2 side gyproc gypsum board. | 60L/m
3 | Removing the existing wooden panels, cutting the existing gypsum ceiling old meeting room for removing the VAV and refix CAV & supply and installation new gypsum ceiling | LS
4 | Supply &Installation of gypsum Bulkhead for new meeting rooms. | 32sqm
5 | Supply & installation of gyproc MR gypsum 125mm thick single layer gypsum board false ceiling with GI suspension make ready for 1st coat paint | 144sqm
6 | Supply & installation of rock wool for above the ceiling (h=7cm) | 144sqm
7 | Supply & apply of paint white matt same existing color | 223sqm
8 | Supply & access panel gyproc | 13nos.
9 | Remove the carpet and re-fixing same carpet with new stickers | L/S
10 | Cutting for down lights for meeting rooms & corridor | LS
11 | Cutting for AC grills | LS
12 | Remove the raised floor and cutting the floor box and re-fixing the raised floor tile. | L/S
13 | Cleaning & protection during the work | L/S
TOTAL AMOUNT
2.3 A/C WORKS LEVEL 3
SNO. | DESCRIPTION OF WORKS | QTY. |  | UNIT Price | TOTAL AMOUNT (AED)
1 | Removal of existing VAV's. | 3 nos.
2 | Relocation of removed VAV's. | 3 nos.
3 | Supply and installation of CAV's. | 4nos.
4 | Supply & installation of S - bend with liner. | 5nos.
5 | Relocation of Linear Slot Diffusers with associated duct modifications, plenum boxes & flexible duct connections. | 4nos.
6 | Fresh Air Duct Works inside the rooms with VCD's | L.S
7 | Removing & reaffixing the AC grills | L.S
8 | Air Balancing | L.S
TOTAL AMOUNT
2.4) IT WORKS LEVEL 3
B | THIRD FLOOR IT NETWORKING | Qty | Unit Price AED | Unit Price | Total Price AED
1 | Existing meeting room converting 4 x2 workstation labor charge | 16
2 | 10GPlus 10m 27AWG S/FTP Stranded 4Pair RJ45 Blade Patch Cord Grey LS/OH 332.1 Sheathed Cable with Grey Boots | 8
3 | cat6 6a - 1mtr patch cord - brandrex | 2
4 | AC6JAKS000DC 10GPlus Snap in Jack Screened – Tool Free for printer points | 16
5 | Single metal face plate - brand MK | 2
6 | • AC6U/FTP-HF1-500VT 10GPlus 23AWG U/FTP 4 Pair LSF/OH IEC 332.1 Sheathed Violet RAL 4005 Cable | 1
for new meeting room - quantity 2nos and 3 workstation as per drawing
8 | for new meeting room - data points 8 data points x 2 meeting rooms labor charge + 3 workstation + 2 printer points + store | 26
9 | 10GPlus 10m 27AWG S/FTP Stranded 4Pair RJ45 Blade Patch Cord Grey LS/OH 332.1 Sheathed Cable with Grey Boots | 24
| cat6 6a - 1mtr patch cord - brandrex | 12
10 | AC6JAKS000DC 10GPlus Snap in Jack Screened – Tool Free for printer points | 20
11 | dual metal face plate - brand MK | 2
12 | professional service for Testing and commissioning | 1
MOVING EQUIPMENT TO THE NEW MEETING ROOM
1 | BARJEEL MEETING ROOM
| SMART BOARD SCREEN AND PROJECTOR INSTALLATION INCLUDING USB, HDMI CABLING INSTALLATION AND CONFIGURATION. | 1
| SX20 CISCO VIDEO CONFERENCE FACILITY - HDMI SPLITTER , POLYCOM AUDIO CONFERNCE PHONE , AND ACCESSORIES | 1
2 | MIDDLE MEETING ROOM
| SMART BOARD SCREEN AND PROJECTOR INSTALLATION INCLUDING USB, HDMI CABLING INSTALLATION AND CONFIGURATION. | 1
3 NEW | HYDRO POWER MEETING ROOM
| SMART BOARD SCREEN AND PROJECTOR INSTALLATION INCLUDING USB, HDMI CABLING INSTALLATION AND CONFIGURATION. | 1
| SX20 CISCO VIDEO CONFERENCE FACILITY - HDMI SPLITTER , POLYCOM AUDIO CONFERNCE PHONE , AND ACCESSORIES | 1
TOTAL AMOUNT

## 4th Floor Modifications
ANNEX. VI | BOQ
3) FOURTH FLOOR | [5 empty] | WATER - Meeting room (4th Floor)
[6 empty] | ITEM | Quantity | DESCRIPTION
SNO. | DESCRIPTION OF WORKS | QTY. |  | Unit Price | TOTAL AMOUNT (AED) |  | SB-680 | 1 | SMART Board
1.) | Containments for BMS:-(Above the Ceiling) | [5 empty] | UF - 55 | 1 | SMART Projector
a) | Containments for Relocation of existing VAV controls | 3 nos. |  |  |  |  | SBA-V | 2 with board | SMART Active Speaker
b) | Containments for Relocation & added presence detectors | 9 nos. |  |  |  |  | Connectivity in the POP UP BOX | 1 | 1x HDMI, 2x power , 2x data , USB - USB is maximun in 3 meters length,if its more then required usb extenders
c) | Containment for wall mounted CO2 sensor in open office | 7 nos. |  |  |  |  | Arrive | 1 | Arrive Info Point (Out side meeting room) - required one data point
d) | Containment for dali loop for light fittings | 16 nos. |  |  |  |  | Floor Box | 1 | 2x Power / 2x Data
e) | [6 empty] | POP UP BOX | 1 | 1x HDMI , 2x Power / 2x Data
2.) | Containment for Audio Visual System:-(Under Raised Floor) | [5 empty] | MANGROVE - Meeting room (4th Floor)
a) | Removal of existing containments from existing meeting room | Item |  |  |  |  | ITEM | Quantity | DESCRIPTION
b) | Containments for floor mounted room booking system at new meeting rooms (1 Single Power & 1 Data Point) | 2 nos. |  |  |  |  | SB-680 | 1 | SMART Board
c) | New containment for AV system at new meeting rooms (2 Nos) as mentioned in drawings. | Item |  |  |  |  | UF - 70 | 1 | SMART Projector
| Supply and installation of LED light with BMS ballast | 16 nos. |  |  |  |  | SBA-V | 2 with board | SMART Active Speaker
3.) | Installation of Light Fittings | 38Nos |  |  |  |  | Connectivity in the POP UP BOX | 1 | 1x HDMI, 2x power , 2x data , USB - USB is maximun in 3 meters length,if its more then required usb extenders
4.) | Supply & installation of Cove light osram LED strip for meeting room. | LS |  |  |  |  | Arrive | 1 | Arrive Info Point (Out side meeting room) - required one data point
5.) | Dismantling of Light Fittings | 33 nos. |  |  |  |  | Floor Box | 1 | 2x Power / 2x Data
6.) | Supply & installation of New Floor Box (Brand: MK) | 8nos. |  |  |  |  | POP UP BOX | 1 | 1x HDMI , 2x Power / 2x Data
7.) | Re-location of Floor Grommets as mentioned in low level power layout | 8 nos. |  |  |  |  | CTS-MX200-UNIT= | 1 | MX200 Gen 2 integrated codec, LCD, camera, speaker, mic
8.) | New Power double Sockets for new meeting rooms, store (Mk Stainless Steel) | 4 nos. |  |  |  |  | Important Notes: 1. Provide all cables and connectors along with installation, documentation and testing services for the new meeting room; 2. No old cable nor the connectors to be used. 3. All Audio/Video Cable should be Branded Cables such as “Belden, Draka, Percon or Crestron”. 4. The HDMI connectors should follow up the specification on the above table 5. All AV Cable should be tested with compliance of AV and HDMI standards. A soft copy of test results should be provided upon completion of the project 6. The modular plugs should provide long-term resistance to corrosion from humidity, extreme temperatures, and airborne contaminants; 7. As Built Drawings: A hard and soft copy of floorplans with updated drawings for the all meeting rooms including the details of the AV equipment and numbers labeled electronically should be provided upon completion of the project 8. The office cabinets/desks should not be located under or before the smart board screens.
9.) | Existing G.I Containment & Pop up box removal & re-fixing at meeting room | Item
10.) | Tele- Communication System:-
a) | Necessary containment for Tele-communication system | Item
TOTAL AMOUNT
3.2 DECOR WORKS FOR MEETING ROOMS LEVEL 4
SNO | DESCRIPTION | QTY | UNIT PRICE | Unit Price | TOTAL AMOUNT (AED)
1 | Demolition of existing ceiling from workstation areas. | LS
2 | Supply & installation of baffle wall with GI framing with wood spot 2 side gyproc gypsum board. | 60L/m
3 | Removing the existing wooden panels, cutting the existing gypsum ceiling old meeting room for removing the VAV and refix CAV & supply and installation new gypsum ceiling | LS
4 | Supply &Installation of gypsum Bulkhead for new meeting rooms. | 32sqm
5 | Supply & installation of gyproc MR gypsum 125mm thick single layer gypsum board false ceiling with GI suspension make ready for 1st coat paint | 144sqm
6 | Supply & installation of rock wool for above the ceiling (h=7cm) | 144sqm
7 | Supply & apply of paint white matt same existing color | 223sqm
8 | Supply & access panel gyproc | 13nos.
9 | Remove the carpet and re-fixing same carpet with new stickers | L/S
10 | Cutting for down lights for meeting rooms & corridor | LS
11 | Cutting for AC grills | LS
12 | Remove the raised floor and cutting the floor box and re-fixing the raised floor tile. | L/S
13 | Cleaning & protection during the work | L/S
TOTAL AMOUNT
3.3 A/C WORKS LEVEL 4
SNO. | DESCRIPTION OF WORKS | QTY. |  | Unit Price | TOTAL AMOUNT (AED)
1 | Removal & Relocation of existing VAV's. | 3 nos.
2 | Supply and installation of CAV's. | 4 nos.
3 | Supply & installation of S - bend with liner. | 5 nos.
4 | Relocation of Linear Slot Diffusers with associated duct modifications, plenum boxes and flexible duct connections. | 4nos.
5 | Fresh Air Duct Works inside the rooms with VCD's | L.S
6 | Removing & reaffixing the AC grills | L.S
7 | Air Balancing | L.S
3.4 IT WORKS 4th floor
C | Fourth FLOOR IT NETWORKING | Qty | Unit Price AED | Unit Price | Total Price AED
1 | Existing meeting room converting 4 x2 workstation labor charge | 16
2 | 10GPlus 10m 27AWG S/FTP Stranded 4Pair RJ45 Blade Patch Cord Grey LS/OH 332.1 Sheathed Cable with Grey Boots | 8
3 | cat6 6a - 1mtr patch cord - brandrex | 2
4 | AC6JAKS000DC 10GPlus Snap in Jack Screened – Tool Free for printer points | 16
5 | Single metal face plate with module- brand MK | 2
6 | • AC6U/FTP-HF1-500VT 10GPlus 23AWG U/FTP 4 Pair LSF/OH IEC 332.1 Sheathed Violet RAL 4005 Cable | 1
for new meeting room - quantity 3nos
8 | for new meeting room - data points 8 data points x 3 meeting rooms labor charge + store | 26
9 | 10GPlus 10m 27AWG S/FTP Stranded 4Pair RJ45 Blade Patch Cord Grey LS/OH 332.1 Sheathed Cable with Grey Boots | 26
10 | AC6JAKS000DC 10GPlus Snap in Jack Screened – Tool Free for printer points | 4
11 | dual metal face plate - brand MK | 1
12 | professional service for Testing and commissioning | 1
MOVING EQUIPMENT TO THE NEW MEETING ROOM
1 | MANGROVE MEETING ROOM
| SMART BOARD SCREEN AND PROJECTOR INSTALLATION INCLUDING USB, HDMI CABLING INSTALLATION AND CONFIGURATION. | 1
| SX20 CISCO VIDEO CONFERENCE FACILITY - HDMI SPLITTER , POLYCOM AUDIO CONFERNCE PHONE , AND ACCESSORIES | 1
2 | MIDDLE MEETING ROOM
| SMART BOARD SCREEN AND PROJECTOR INSTALLATION INCLUDING USB, HDMI CABLING INSTALLATION AND CONFIGURATION. | 1
3 NEW | WATER MEETING ROOM
| SMART BOARD SCREEN AND PROJECTOR INSTALLATION INCLUDING USB, HDMI CABLING INSTALLATION AND CONFIGURATION. | 1
| SX20 CISCO VIDEO CONFERENCE FACILITY - HDMI SPLITTER , POLYCOM AUDIO CONFERNCE PHONE , AND ACCESSORIES | 1
TOTAL AMOUNT

## 5th Floor Modifications
ANNEX. VI | BOQ
4) FIFTH FLOOR
SNO | DESCRIPTION | QTY | UNIT PRICE | TOTAL AMOUNT (AED)
1 | Removing the existing down lights from big meeting room and Supply & installation of 20*20 LED down lights. | 14
2 | Cutting the ceiling for the down light and apply paint on the same area | LS
TOTAL AMOUNT